## CL 1
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Computing Laboratory I (301) III rd Floor. Area 66 sq. mtr Updated on 02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr..Sapna U.Prabhu. |  | Lab. Incharge: Prof. Vaibhav Godbole. |  |  | Lab. Assistant: Mrs. Pradnya Nandlaskar.
Sr. No. | Description of Assets | Quantity | Date of Purchase | Suppliers Name | Sr.No / Code No | Cost (in Rs.) | Remarks | Total Cost
1 | 8085 KIT | 1 | 2003-01-05 | Dynalog India Ltd | MP/DYNA/8085/01 | 8,000/- | OK | 8000
2 | 8085 KIT | 1 | 2003-01-05 | Dynalog India Ltd | MP/DYNA/8085/02 | 8,000/- | OK | 8000
3 | 8085 KIT | 1 | 2003-01-05 | Dynalog India Ltd | MP/DYNA/8085/04 | 8,000/- | OK | 8000
4 | 8085 KIT | 1 | 2003-01-05 | Dynalog India Ltd | MP/DYNA/8085/05 | 8,000/- | OK | 8000
5 | 8085 KIT | 1 | 2003-01-05 | Dynalog India Ltd | MP/DYNA/8085/06 | 6,000/- | OK | 6000
6 | ACCESSORY | 12 | 1990-01-03 | Dynalog India Ltd |  | 6300/- | OK | 6300
7 | Oscilloscope 30 MHZ | 1 | 2001-01-12 | Skyking Instruments P. Ltd | MP/CRO/1 | 19,900/- | OK | 19900
8 | Oscilloscope 30 MHZ | 1 | 2001-01-12 | Skyking Instruments P. Ltd | MP/CRO/2 | 19,900/- | OK | 19900
9 | Dell Vostro core 2 duo processor with 17" flat LCD monitor, keyboard, optical mouse | 21 | 2010-11-29 | DELL computers | MP/DELL/06, 16,And 17 | 69820/- | OK | 69820
10 | Stabilizer 30 KVA | 1 set | June.2004 | Sentronix |  | 50,000/- | In Internet Centre | 50000
11 | Crystal 6045 Programmer | 1 | Oct. 2006 | Skyking Agencies | MP/PRO/1 | 10,764/- | OK | 10764
12 | 89C51RD2 Kit | 1 each | Nov.2007 | Anshuman | MP/ANSH/EMB/01 | 11,336/- | OK | 11336
13 | HP F4185 Series- printer+ copier+ scanner | 1 | Nov. 2007 | HP | MP/PRIN/02 | 4576/- | In HOD Cabin | 4576
14 | CD-Writter Sony | 1 | Nov. 2007 | Sony |  | 2,000/- | OK | 2000
15 | Dc Motor & Stepper motor controller card + power supply for kit | 1 | 2007-11-01 | Anshuman | MP/ANSH/EMB/ACC/01 MP/ANSH/EMB/PS/01 |  | OK
16 | Avr Atmega 8535 based development board | 1 | 26.04.2008 | Logsum Systems | MP/LOG/EMB/ACC/01 |  | OK
17 | ARM 2138/2148 Development Board | 1 | 26.04.2008 | Logsum Systems | MP/LOG/EMB/ACC/02 | 9,562/- | OK | 9562
18 | Testronik power supply | 2 | 08.05.2009 | Techtronics | MP/PS/01-02 | 7987/- | OK | 7987
19 | Digital Multimeter Handheld | 1 | 01.10.2009 |  | mp/mul/01 | 900/- | OK | 900
20 | Mother board Pic microcontroller & Arm | 3 | 25.09.2009 | Applied Digital Microsystems Pvt. Ltd. (ADM) | MP/ADM/Motherboard/01-03 | 64000 approx. | OK | 64000
21 | Doughter board for PIC 16F877A & Arm TK 2103 | 3 each | 25.09.2009 | ADM | MP/ADM/PIC/D/01-03 MP/ADM/ARM/D/01-03 |  | OK
22 | Patch Panel (Switch, rackpanel) | 1 |  | D-Link
23 | 3COM HUB (Network accessories) | 1 |  |  |  | 36000/- |  | 36000
24 | ATMEGA kit | 8 | 2010-12-01 | Thinklab Pvt.LTD. | MP/THINK LAb/ATMEGA/01-08 | Donated | OK
25 | CY8C kit -050 development kit | 3 | MOU dated 21.10.2013 | Eduvance (Vanmat Tech. Pvt. Ltd.) | mp/edu/PSoC/050 -01 ,02,03 | Donated | OK
26 | CY8C kit -003 development kit | 2 | MOU dated 21.10.2014 | Eduvance | mp/edu/PSoC/003 -01 ,02 | Donated | OK
27 | mbed NXP LPC 1768 | 2 | 13 .06.2014 | Eduvance | mp/edu/NXP/1768 -01 ,02, | Donated | OK
28 | mbed NXP LPC 11U24 | 2 | 13 .06.2014 | Eduvance | mp/edu/NXP/11U24 -01 ,02 | Donated | OK
29 | PSoC - CY8CKIT-042 PSoC 4 PIONEER KIT | 2 | 13 .06.2014 | Eduvance | mp/edu/PSoC/042 -01 ,02 | Donated | OK
30 | HP LASERJET PRO 400 M 401DN PRINTER WITH USB CABLE | 1 | 2014-08-25 | HP | VNH4321526 | 29238 | OK | 29238
31 | Dyna- 86LU 8086 kit | 3 | 2017-01-01 | Dynalog India Ltd | #511 , #512 ,#513 | 8350 per kit | OK | 25050
32 | SMPS | 3 |  |  | 16082684 , 16082685 , 16082686 | 1450 per smps |  | 4350
33 | cable & connector set with keyboard |  |  |  |  | 1025 |  | 1025
34 | 8259 study card | 1 | 2017-01-01 | Dynalog India Ltd | #1291 | 2875 |  | 2875
35 | 8237 DMA control study card | 1 | 2017-01-01 | Dynalog India Ltd | #1067 | 3250 |  | 3250
36 | 8051 board with LCD, DC motor drive & USB-UART | 4 | 2018-05-01 | Emtron Technology | mp/emt/8051/01-04 | 8000 per board | OK | 32000
37 | Multiplexed 7-segment display | 1 | 2018-05-01 | Emtron Technology | mp/emt/display/01 | 1500 | OK | 1500
38 | DAC 8-bit card | 2 | 2018-05-01 | Emtron Technology | mp/emt/DAC/01-02 | 1800 per card | OK | 3600
39 | ADC 8-bit card | 2 | 2018-05-01 | Emtron Technology | mp/emt/ADC/01-02 | 1800 per card | OK | 3600
40 | stepper motor (1.8 degree step angle,12v) | 1 | 2018-05-01 | Emtron Technology |  | 1500 | OK | 1500
41 | DC Motor (300 rpm, 12v) | 1 | 2018-05-01 | Emtron Technology |  | 1500 | OK | 1500
42 | 4*4 keyboard | 2 | 2018-05-01 | Emtron Technology | mp/emt/keuboard/01-02 | 1500 per keyboard | OK | 3000
43 | ARM CORTEX - M3 based board with LCD, SDCARD, LED, RELAY & USB- UART interface | 1 | 2018-05-01 | Emtron Technology | mp/emt/ARM/01 | 15000 | OK | 15000
44 | RASPBERRY PI-3 | 4 | 2018-08-01 | Rajguru Electronics Pvt. Ltd. | Elex/up/rp/01,02,03,04 | 2400 per kit | OK | 9600
45 | TSOP Sensor Module | 2 | 2018-08-01 | Rajguru Electronics Pvt. Ltd. |  | 150 Each | OK | 300
46 | Ultrasonic Sensor Module | 2 | 2018-08-01 | Rajguru Electronics Pvt. Ltd. |  | 100 Each | OK | 200
47 | DHT-22 Sensor with PCB | 2 | 2018-08-01 | Rajguru Electronics Pvt. Ltd. |  | 300 Each | OK | 600
48 | LDR Module | 2 | 2018-08-01 | Rajguru Electronics Pvt. Ltd. |  | 80 Each | OK | 160
49 | Raspberry Pi4 Model B (4GB) Kit | 4 | 2021-03-01 | LW Tech | D-40 | 29736/- | OK | 29736
50 | Raspberry Pi4 Model B (8GB) Kit | 4 | 2021-03-01 | LW Tech | D-40 | 35400/- | OK | 35400
51 | Node MCU ESP 8266 Board | 8 | 2021-03-01 | LW Tech | D-40 | 2454/- | OK | 2454
52 | Node MCU ESP 32 Board | 8 | 2021-03-01 | LW Tech | D-40 | 4248/- | OK | 4248
53 | Temperature Sensor DHT-11 | 8 | 2021-03-01 | LW Tech | D-40 | 708/- | OK | 708
54 | Temperature Sensor DHT-22 | 8 | 2021-03-01 | LW Tech | D-40 | 1416/- | OK | 1416
55 | Pressure Sensor | 4 | 2021-03-01 | LW Tech | D-40 | 236/- | OK | 236
56 | Proximity Sensor | 4 | 2021-03-01 | LW Tech | D-40 | 1652/- | OK | 1652
57 | Accelerometer And Gyroscope | 4 | 2021-03-01 | LW Tech | D-40 | 967/- | OK | 967
58 | IR Sensor | 8 | 2021-03-01 | LW Tech | D-40 | 566/- | OK | 566
59 | Optical Sensor | 2 | 2021-03-01 | LW Tech | D-40 | 944/- | OK | 944
60 | Gas Sensor | 4 | 2021-03-01 | LW Tech | D-40 | 708/- | OK | 708
61 | Smoke Sensor | 4 | 2021-03-01 | LW Tech | D-40 | 708/- | OK | 708
62 | Servo Motor | 4 | 2021-03-01 | LW Tech | D-40 | 708/- | OK | 708
63 | Stepper Motor With Driver | 3 | 2021-03-01 | LW Tech | D-40 | 1239/- | OK | 1239
64 | DC Motor With Driver | 3 | 2021-03-01 | LW Tech | D-40 | 885/- | OK | 885
65 | Relay Solenoid With Driver | 3 | 2021-03-01 | LW Tech | D-40 | 885/- | OK | 885
66 | IOT based digital electronics work bench | 3 | 2021-09-01 | Emtron Technologies | D-14 | 14160/- | OK | 14160
67 | IOT Sensor Interface | 2 | 2021-09-01 | Emtron Technologies | D-14 | 16520/- | OK | 16520
68 | Virtual Lab Closed Loop | 1 Set | 2021-09-01 | Emtron Technologies | D-14 | 14160/- | OK | 14160
69 | Wireless Sensor Network Board | 1 | 2021-12-01 | Embedded Systems Solutions |  | 70070/- | OK | 70070
70 | ESA 51 E | 4 | 2021-12-01 | Embedded Systems Solutions |  | 12642/- | OK | 12642
71 | ESA IF | 2 | 2021-12-01 | Embedded Systems Solutions |  | 39984/- | OK | 39984
72 | Click Boards | 1 | 2021-12-01 | Embedded Systems Solutions |  | 77322/- | OK | 77322
73 | Mikroe-4077 | 2 | 2021-12-01 | Embedded Systems Solutions |  | 40670/- | OK | 40670
74 | PIC 18Fxx Board with LED USB, I Interface | 1 | 2022-01-01 | Digitech Controls And Systems |  | 20850/- | OK | 20850
75 | Instrumentation and Transducer trainer with on board Sensor and Actuators | 1 | 2022-01-01 | Digitech Controls And Systems |  | 57375/- | OK | 57375
76 | 6 Axis Robotic, Arm with 250gm Payload Capacity | 1 | 2022-01-01 | Digitech Controls And Systems |  | 99820/- | OK | 99820
77 | Industrial 4 port I/O link IFM Germany make with Temperature and speed I/O Sensors | 1 | 2022-01-01 | Digitech Controls And Systems |  | 96420/- | OK | 96420
78 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZN | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HG0VRZ
| Keyboard |  |  |  | 8SSD51C06673AVLC24B08WP
| Mouse |  |  |  | 8SSM50L24506AVLC2540PL4
79 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZ6 | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGW90
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06DA
| Mouse |  |  |  | 8SSM50L24506AVLC2540R0J
80 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYA | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH34
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06PA
| Mouse |  |  |  | 8SSM50L24506AVLC2540PV9
81 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYS | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGDB7
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06K3
| Mouse |  |  |  | 8SSM50L24506AVLC2540R0D
82 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZ3 | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH27
| Keyboard |  |  |  | 8SSD51C06673AVLC24B09CD
| Mouse |  |  |  | 8SSM50L24506AVLC2540PYM
83 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZL | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH00
| Keyboard |  |  |  | 8SSD51C06673AVLC24B0998
| Mouse |  |  |  | 8SSM50L24506AVLC2540PGE
84 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYQ | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGGP3
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06MA
| Mouse |  |  |  | 8SSM50L24506AVLC2540R0R
85 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYJ | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGW8Z
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06JP
| Mouse |  |  |  | 8SSM50L24506AVLC2540PGV
86 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZP | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH33
| Keyboard |  |  |  | 8SSD51C06673AVLC24B09BD
| Mouse |  |  |  | 8SSM50L24506AVLC2540PGP
87 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYD | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH05
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06MK
| Mouse |  |  |  | 8SSM50L24506AVLC2540PL1
88 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZM | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH30
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06J2
| Mouse |  |  |  | 8SSM50L24506AVLC2540R0B
89 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFYN | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH2P
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06D5
| Mouse |  |  |  | 8SSM50L24506AVLC2540PWG
90 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZT | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH29
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06K2
| Mouse |  |  |  | 8SSM50L24506AVLC2540PGS
91 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFZ9 | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH0P
| Keyboard |  |  |  | 8SSD51C06673AVLC24B06ZC
| Mouse |  |  |  | 8SSM50L24506AVLC2540PGJ
92 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-08-22 | Techigent Technology, Kandivli | PG03BFL5 | 38704 | OK | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHGH1L
| Keyboard |  |  |  | 8SSD51C06673AVLC24B090A
| Mouse |  |  |  | 8SSM50L24506AVLC2540PE3
93 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2019-02-01 | Techigent Technology, Kandivli | PG01DYDL | 1,50,391/- | OK | 150391
| Lenovo 19" MONITOR Model E2054 LCD Monitor |  |  |  | VKR05761
| Keyboard |  |  |  | 2552478
| Mouse |  |  |  | 004ZGDZ
94 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2019-02-01 | Techigent Technology, Kandivli | PG01DX54 | 1,50,391/- | OK | 150391
| Lenovo 19" MONITOR Model E2054 LCD Monitor |  |  |  | VKR08174
| Keyboard |  |  |  | 2556056
| Mouse |  |  |  | 004ZGEM
95 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2019-02-01 | Techigent Technology, Kandivli | PG01DQVD | 1,50,391/- | OK | 150391
| Lenovo 19" MONITOR Model E2054 LCD Monitor |  |  |  | VKR07334
| Keyboard |  |  |  | 2551366
| Mouse |  |  |  | 007H7SR
96 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2019-02-01 | Techigent Technology, Kandivli | PG01DZ1K | 1,50,391/- | OK | 150391
| Lenovo 19" MONITOR Model E2054 LCD Monitor |  |  |  | VKR03242
| Keyboard |  |  |  | 2552526
| Mouse |  |  |  | 007H6LG
97 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2019-02-01 | Techigent Technology, Kandivli | PG01DY4N | 1,50,391/- | OK | 150391
| Lenovo 19" MONITOR Model E2054 LCD Monitor |  |  |  | VKR08553
| Keyboard |  |  |  | 2560879
| Mouse |  |  |  | 007H7E2
98 | TP Link Dongle TL WN823N- TP link n 300wifi Dongle 3 years Warranty | 20 | 2024-07-01 |  | 2242123005995, 6167, 6166, 6164, 6150, 6149, 6071, 6063, 6043, 6281, 6184, 6185, 6246, 6247, 6257, 6259, 6272, 6148, 6253, 6106 | 13,452/ | OK | 13452
[7 empty] | Total Cost | 2478813

## HL1
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Hardware Laboratory 1 (303) III rd Floor. Area 66 sq. mtr Updated on: 02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr. Sapna U. Prabhu. |  | Lab. Incharge: Dr. Inderkumar Kochar. |  |  | Lab.Assistant: Mrs. Shalaka S. Parab
Sr. No. | Description Of Assets | Quantity | Date of Purchase | Suppliers Name | Sr. No / Code No | Cost (in Rs.) | Remarks | Total Cost
1 | Digital Storage Oscilloscope 50 MHz (LWT D5050) | 7 Nos | 2020-01-01 | LW Tech | 2190001499/ 1500/ 1501/ 1503/ 1507/ 1508/ 1509 | 18500 Each | Working | 129500
2 | Multi output Power Supply (LWT MPS 3015) | 7 Nos | 2020-01-01 | LW Tech | 20001/ 20002/ 20003/ 20004/ 20005/ 20006/ 20007 | 16000 Each | Working NW20005 | 112000
NW 20005
3 | Function Generator 2 MHz (LWT FCT 02) | 7 Nos | 2020-01-01 | LW Tech | 190901485/92/ 94/ 97/ 190704781/ 190900371/ 190900375 | 9500 Each | Working | 66500
NW 92,94,97,81,75
4 | Bench Type Digital Multimeter (LWT DMM01) | 5 Nos | 2020-01-01 | LW Tech | 1287183/ 179/ 134/ 185/ 186 | 6000 Each | Working | 30000
5 | D. C. Position Servomechanism demonstration | 1 | 2022-07-29 | Techno Scientific Company |  | 24000/- | Working | 24000
6 | Thermocouple Module | 1 | 2022-07-29 | Techno Scientific Company |  | 11000/- | Working | 11000
7 | Resistance Temperature Detector (RTD) Module | 1 | 2022-07-29 | Techno Scientific Company |  | 11000/- | Working | 11000
8 | Linear Variable Differential Transformer (LVDT) Module | 1 | 2022-07-29 | Techno Scientific Company |  | 15400/- | Working | 15400
9 | Strain Gauge Module | 1 | 2022-07-29 | Techno Scientific Company |  | 15400/- | Working | 15400
10 | Study of Inductive pick up | 1 | 2022-07-29 | Techno Scientific Company |  | 16500/- | Working | 16500
11 | Study of Capacitive pick up | 1 | 2022-07-29 | Techno Scientific Company |  | 12100/- | Working | 12100
12 | Mercury thermometer | 3 | Aug. 2000 |  | IL/EI/06/07/08 | 65/- each | working | 195
13 | Emerson Water Heater | 1 | Sept. 2000 | Huma | IL/EI/09 | 150/- | working | 150
14 | ECG Amplifier & Simulator Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/2A-2B | 22,000/- | working | 22000
15 | EEG Amplifier Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/3A-3B | 25,000/- | working | 25000
16 | EMG Amplifier Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/4 | 26,000/- | working | 26000
17 | Blood Pressure Measurement System | 1 | 11.03.05 | Pamtrons | IL/BIO/5 | 15,000/- | working | 15000
18 | Blood Flow Measurement System | 1 | 11.03.05 | Pamtrons | IL/BIO/6 | 35,000/- | working | 35000
19 | Finger Plythemograph system | 1 | 11.03.05 | Pamtrons | IL/BIO/7A-7B | 15,000/- | working | 15000
20 | Respiration /Apnea Monitor &Simulator | 1 | 11.03.05 | Pamtrons | IL/BIO/8 | 24,000/- | working | 24000
21 | Audiometer Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/9 | 39,000/- | working | 39000
22 | Pulse Oximeter Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/10 | 39,000/- | working | 39000
23 | Spirometry Kit | 1 | 11.03.05 | Pamtrons | IL/BIO/11 | 39,000/- | working | 39000
24 | Electronic Stethoscope | 2 | Mach 2009 | Pamtrons |  | 1800/- | Working | 1800
25 | LUX Meter | 1 | Sept.2009 | Edkits Electronics | IL/EI/18 | 1482/- | Working | 1482
26 | Sound Level Meter | 1 | Sept.2009 | Edkits Electronics | IL/EI/19 | 3903/- | Working | 3903
27 | PID Kit | 1 | Sept.2009 | Edkits Electronics | IL/PID/03 | 8892/- | Not Working | 8892
28 | Test Signal Generator | 1 | Oct.2009 | Adtron | IL/CE/13 | 4961/- | Working | 4961
29 | CONTROL SYSTEM "O" TYPE | 1 | Oct.2009 | Adtron |  | 4961 | Working | 4961
30 | CONTROL SYSTEM "1" TYPE | 1 | Oct.2009 | Adtron |  | 4961 | Working | 4961
31 | CONTROL SYSTEM "2" TYPE | 1 | Oct.2009 | Adtron |  | 4961 | Working | 4961
32 | kinect xbox sensor | 1 | 6-may-2013 |  | IIT BOMBAY Donated | 11419.05/- | working | 11419
33 | Educational Trainer Kit ST 2301 | 1 | 2005-10-25 |  |  | 15600 |  | 15600
34 | Educational Trainer Kit ST 2302 | 1 | 2005-10-25 |  |  | 15600 |  | 15600
35 | Digital Communication Trainer Sampling ST 2101 |  |  | Scientech |  | 14000 | working | 14000
36 | Digital Communication Trainer TDM ST 2102 |  |  | Scientech |  | 14000 | working | 14000
37 | Digital Communication Trainer TDM transmitter ST 2103 |  |  | Scientech |  | 14000 | working | 14000
38 | Digital Communication Trainer TDM receiver ST 2104 |  |  | Scientech |  | 14000 | working | 14000
49 | Digital Communication Trainer Delta Adaptive, Delta Mod/ Demod ST 2105 |  |  | Scientech |  | 14000 | working | 14000
40 | FM Transmitter/Receiver | 1 | 2023-10-01 | Scientech |  | 55000/- | Working | 55000
41 | Pre-Emphasis /De –Emphasis Setup | 1 | 2023-10-01 | Scientech |  |  | Working
42 | AM Modulation/ Demodulation | 1 | 2023-10-01 | Scientech |  |  | Working
43 | DSB/ SSB AM Transmitter | 1 | 2023-10-01 | Scientech |  |  | Working
44 | Line Coding And Decoding | 1 | 2023-10-01 | Scientech |  |  | Working
45 | Scientific make Multi output Power Supply (Model PSD3304) | 3 | 2024-07-01 | Techno Scientific | 24066988, 24066989, 24066997 | 45,000/- | Working | 45000
46 | Scientific make Function Generator 2 MHz (Model SM5060-2) | 3 | 2024-07-01 | Techno Scientific | 2401948, 2405957, 2405965 | 26,400/- | Working | 26400
47 | HTC make 4 ½ Digit Bench Type Digital Multimeter (Model DM 8045-R | 3 | 2024-07-01 | Techno Scientific | 1374254, 24110289, 1374256 | 19,980/- | Working | 19980
48 | Scientific make Digital Storage Oscilloscope 50 MHz (model SMO502ED) | 3 | 2024-07-01 | Techno Scientific | 24110259, 24110289, 24110289 | 74,400/- | Working | 74400
49 | Lenovo P360 (Think station) workstation, Desktop i7,12th generation,16GB RAM, DOS 3 year warranty, 1TB HDD | 1 | 2024-07-18 | Techigent Technology, Kandivli | PG03RJZM | 53,800/- | OK | 53800
| Lenovo 19" MONITOR Model E20-30 LCD Monitor |  |  |  | VYD10701
| Keyboard |  |  |  | 3150935
| Mouse |  |  |  | V0GWS
| 1TB HDD |  |  |  | WXL1A8932984
50 | Lenovo P360 (Think station) workstation, Desktop i7,12th generation,16GB RAM, DOS 3 year warranty, 1TB HDD | 1 | 2024-07-18 | Techigent Technology, Kandivli | PG03RK5L | 53,800/- | OK | 53800
| Lenovo 19" MONITOR Model E20-30 LCD Monitor |  |  |  | VYD52837
| Keyboard |  |  |  | 3150909
| Mouse |  |  |  | V0KP5
| 1TB HDD |  |  |  | WXL1A9904XY4
51 | Lenovo P360 (Think station) workstation, Desktop i7,12th generation,16GB RAM, DOS 3 year warranty, 1TB HDD | 1 | 2024-07-18 | Techigent Technology, Kandivli | PG03RK37 | 53,800/- | OK | 53800
| Lenovo 19" MONITOR Model E20-30 LCD Monitor |  |  |  | VYD07678
| Keyboard |  |  |  | 315092F
| Mouse |  |  |  | V00H5
| 1TB HDD |  |  |  | WXJ2A21D3V06
52 | Lenovo P360 (Think station) workstation, Desktop i7,12th generation,16GB RAM, DOS 3 year warranty, 1TB HDD | 1 | 2024-07-18 | Techigent Technology, Kandivli | PG03RKCL | 53,800/- | OK | 53800
| Lenovo 19" MONITOR Model E20-30 LCD Monitor |  |  |  | VYD07712
| Keyboard |  |  |  | 3150CT2
| Mouse |  |  |  | V0MKM
| 1TB HDD |  |  |  | WXL2E807Z16M
53 | Lenovo P360 (Think station) workstation, Desktop i7,12th generation,16GB RAM, DOS 3 year warranty, 1TB HDD | 1 | 2024-07-18 | Techigent Technology, Kandivli | PG03RKA3 | 53,800/- | OK | 53800
| Lenovo 19" MONITOR Model E20-30 LCD Monitor |  |  |  | VYD52826
| Keyboard |  |  |  | 3150F52
| Mouse |  |  |  | X156J
| 1TB HDD |  |  |  | WXG2A2190462
54 | D link 8 port switch | 1 | 2025-05-01 | D link |  |  | working
55 | PLC trainer 10 with Allen Bradly MicroLogix 1400 with 1 programming software License Sr.No.021038 | 1 | 2022-07-11 | Techno Scientific | D/49 | 1,29,000/- | working | 129000
56 | Human Machine Interface Sr.No.021035,021036 | 2 | 2022-07-11 | Techno Scientific | D/49 | 64,000/- | working | 64000
57 | Winlog pro 32 tag web enabled SCADA software | 1 | 2022-07-11 | Techno Scientific | D/49 | 54,000/- | working | 54000
58 | Rheostat 100 Ω 2 Amps | 1 | 2007-02-15 |  | D/299 | 1560 | working | 1560
59 | Rheostat 300 Ω 1 Amps | 1 | 2007-02-15 |  | D/299 | 936 | working | 936
[7 empty] | Total Cost | 1610561

## HL 2
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Hardware Laboratory 2 (309) III rd Floor. Area 66 sq. mtr Updated on :02/08/2025
Department of Electronics and Computer Science
H. O. D. : Dr. Sapna U. Prabhu. Lab. Incharge: Prof. Jayen Modi Lab. Assistant: Mrs. Pradnya Nandlaskar
Sr. No. | Description of Assets | Quantity | Date of Purchase | Suppliers Name | Sr. No / Code No | Cost (in Rs.) | Remarks | Total Cost
1 | Power Supply (Model No. 35) | 4 | 2004-03-01 | Testronix | EL/PS/28 | 4975/- | OK | 4975
[5 empty] | EL/PS/29 | 4975/- | OK | 4975
[5 empty] | EL/PS/30 | 4975/- | OK | 4975
[5 empty] | VLSI/PS/06 | 4975/- | OK | 4975
2 | Power Supply (Model No. ST 4074) | 1 | Dec. 2001 | Scientech | EL/PS/18 | 10400/- | OK | 10400
3 | Blower (Model No. 77750) | 1 |  | Ralliwolf | EL/BL/01 |  | OK
4 | Analog Ammeter | 11 |  | APLAB |  |  | OK
5 | Analog Voltmeter (O-300V) | 1 |  | APLAB |  |  | OK
6 | Oscilloscope (CRO) 201, 20MHz Scientech | 1 |  | Scientech | VLSI/OS/06 | 18186/- | OK | 18186
7 | Oscilloscope (CRO) Dual Trace Model- HM -5030 | 1 | 2003-03-01 | Scientific | EL/OS/20 | 9,000/- | OK | 9000
8 | Function Generator | 2 | 2001-02-01 | Scientific | EL/SG/16 | 9000/- | OK | 9000
[5 empty] | EL/SG/06 | 9000/- | OK | 9000
9 | Power Electronic Kits | 11 | 17.03.2006 | HEM Electronics | PE-1 | 10395/- | OK | 10395
[5 empty] | PE-4 | 5049/- | OK | 5049
[5 empty] | PE-5 | 7920/- | OK | 7920
[5 empty] | PE-9 | 22770/- | OK | 22770
[5 empty] | PE-17 | 10692/- | OK | 10692
[5 empty] | PE-10 | 26334/- | OK | 26334
[5 empty] | PE-18 | 18513/- | OK | 18513
[5 empty] | PE-20 | 34155/- | OK | 34155
[5 empty] | PE-21 | 45045/- | OK | 45045
[5 empty] | PE-22 | 13068/- | OK | 13068
[5 empty] | PE-11 | 33462/- | OK | 33462
10 | Function Generator | 1 | 1998-12-01 | Scientific MES Techtriks | EL/FG/N |  | OK
11 | Digital Tachometer | 2 | 2007-04-01 | Systems | 06-1573 |  | Ok
[5 empty] | 06-1575 |  | Ok
12 | CRO Hm 203, 30MHz Scientific | 1 | 2004-02-01 | Scientech | EL/OS/25 | 19900/- | Ok | 19900
13 | Bench type Multimeter | 4 | 2008-12-01 | Skyking Agencies | 2598395,2598398,2598416, 2598427 | 20,250/- | OK | 20250
14 | Signal Generator – 2 Mhz ( Model – msd2m) | 5 | Jan.2011 | APLAB | 111038 to 42 | 33470/- | OK | 33470
15 | Bench type Multimeter | 2 | Jan.2011 | Falcon Enterprises | 2010221 | 5771/- each | OK | 11542
16 | Moving Coil Pannel Meter Micro-Ammeter (0-100uA) | 10 | 2013-09-01 | MECO | 1310811-1310820 | 978.75/- each | OK | 9790
17 | Moving Coil Pannel Meter Milli-Ammeter (0-100mA) | 10 | 2013-09-01 | MECO | 1310801-1310810 | 945/- each | OK | 9450
18 | Digital Storage Oscilloscope 50 MHz Model EDUX1002A | 10 | 2018-04-01 | Keysight | CN56520181/CN56530282/ CN56480114/CN56530153/ CN56520149/CN56520105/ CN56480110/CN56520162/ CN56520254/CN57090453 | 2,65,500/- | OK | 265500
19 | Forced Commutation SCR Trainer | 1 | 2018-04-01 | Advance Electronics Industries | 2025 | 10620/- | OK | 10620
20 | Power scope 824A | 1 | 2018-04-01 | Scientech | 618533 | 29264/- | OK | 618533
21 | GW-DDS Function Generator SFG-1013 | 10 | 2019-11-01 | Automate Process Control | GCS92698, GCS875740, GCT831634, GCS875766, GCS875746, GCS875734, GCS875764, GCS875745, GCS875765, GCS875729 | 11.000 Each Total 110000 + GST 19800 = 1,29800 | OK | 129800
22 | Multi output power Supply, Scientific | 10 | 2023-09-01 | Scientific | 23086355/370/371/376/382/384/389/390/393/398 | 1,50,000/- | OK | 150000
23 | HTC make 4 ½ Digit Bench Type Digital Multimeter (Model DM 8045-R | 10 | 2024-07-01 | Techno Scientific | 1374251, 1374252, 1374253,1352545,1374233,1374234,1374235,1374234,1374236,1374237 | 66,600/- | Working | 66600
[7 empty] | Total Cost | 1648344

## CL 2
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Computing Laboratory 2 (310) III rd Floor. Area 66 sq. mtr Updated on :02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr. Sapna U. Prabhu. |  | Lab. Incharge: Prof. Archana P. Lopes. |  |  | Lab. Assistant: Mrs. Shalaka S.Parab
Sr. No. | Description Of Assets | Quantity | Date of Purchase | Suppliers Name | Sr. No / Code No | Cost (in Rs.) | Remarks | Total Cost
| PCB Fabrication Kit --- | 1 set | 20.10.09 | Crescent Agencies | D/367(29.10.09) | 2,21,523/- |  | 221523
1 | a) Photo contact PCB artwork film maker |  |  | Pvt. Ltd. |  |  | Working
2 | b) Photo core2 PCB curing machine (oven) | [5 empty] | Working
3 | c)Photo resist Dip coating machine | [5 empty] | Working
4 | d)Photo UV – double sided UV exposure | [5 empty] | Working
5 | e) Photo etch PCB etching machine | [5 empty] | Working
6 | f) Photo drill 3000 – PCB drilling machine | [5 empty] | Working
7 | g) Slash 300-shearing machine 300mm | [5 empty] | Working
8 | h) Photo dye/developer (2in1) unit | [5 empty] | Working
9 | i) RTM 10 – roller tinning machine | [5 empty] | Working
10 | HP Laser jet Printer1020 Plus | 1 | 2012-07-01 | HP | CNCFY39504 | 6878/- | Working | 6878
11 | HUB HCL make 6U Rack Code: FG101006 | 1 | 2011-10-17 | D link | D/347 | 4100/- | Working | 4100
12 | D link 24 port Patch panel (Cat5) Model: NPP-5E1BCK241 | 1 | 2011-10-17 | D link | D/334 | 3806=25 | Working | 3806
13 | D link 16 port switch S/N: QBAN1B3002259 | 1 | 2011-10-17 | D link | D/334 | 2310=25 | Working | 2310
14 | D link 8 port switch | 1 | 2017-08-19 | D link | D/115 | 896=80 | Working | 897
15 | D link DIR 650 IN wireless N-300 Router | 1 | 2022-10-01 | D link |  | 957/- | Working | 957
16 | Xilinx Vivado ML Enterprises Edition 25 Users with Vitis Model Composer Plugin (25 Users) Perpetual Licence | 1 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 185540 | OK | 185540
17 | PYNQ Z2 Development Boards | 2 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 40371 | OK | 40371
18 | Basys 3 Artix 7 FPGA Trainer Board | 2 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 27480 | OK | 27480
19 | Zybo Z7 : Zynq 7000 ARM/FPGA SoC development Board | 2 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 69140 | OK | 69140
20 | Arty A7 100T : FPGA Development Board | 1 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 33760 | OK | 33760
21 | Kria KV 260 Vision AI Startup Kit | 1 | 2023-12-01 | Core EL Technologies Pvt Ltd |  | 44737 | OK | 44737
22 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHFA (CL2/PC/01) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89D3
| Keyboard |  |  |  | 32V081V
| Mouse |  |  |  | 33H06W4
23 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHEC (CL2/PC/02) | 71,378/- | OK
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM893N
| Keyboard |  |  |  | 32V06H4
| Mouse |  |  |  | 33H06TG
24 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHML (CL2/PC/03) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM884W
| Keyboard |  |  |  | 32V08HK
| Mouse |  |  |  | 33H06VY
25 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHQO (CL2/PC/04) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM8A7W
| Keyboard |  |  |  | 32V08HG
| Mouse |  |  |  | 33H06M4
26 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHYH (CL2/PC/05) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM87Y8
| Keyboard |  |  |  | 32V08K7
| Mouse |  |  |  | 33H06KY
27 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHDX (CL2/PC/06) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM8B6K
| Keyboard |  |  |  | 32V09CF
| Mouse |  |  |  | 33H07BE
28 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHMK (CL2/PC/07) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89VZ
| Keyboard |  |  |  | 32V0827
| Mouse |  |  |  | 33H07B9
29 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHZB (CL2/PC/08) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89RO
| Keyboard |  |  |  | 32V09CA
| Mouse |  |  |  | 33H07B0
30 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHKY (CL2/PC/09) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM886W
| Keyboard |  |  |  | 32V06ZR
| Mouse |  |  |  | 33H06VT
31 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHMD (CL2/PC/10) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89PL
| Keyboard |  |  |  | 32V083A
| Mouse |  |  |  | 33H06M3
32 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHLF (CL2/PC/11) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89PK
| Keyboard |  |  |  | 32V083E
| Mouse |  |  |  | 33H06VK
33 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHHN (CL2/PC/12) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM6WLY
| Keyboard |  |  |  | 32V083G
| Mouse |  |  |  | 33H0M7A
34 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHPD (CL2/PC/13) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM8B8P
| Keyboard |  |  |  | 33103SX
| Mouse |  |  |  | 33H07V5
35 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHM7 (CL2/PC/14) | 71,378/- | OK | 71378
| Think centre Desktop |  |  |  | (CL2/PC/14)
i5, 12Gen, 1TB SSD,
16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM884L
| Keyboard |  |  |  | 32V07YD
| Mouse |  |  |  | 33H06S4
36 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHNF (CL2/PC/15) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM883Z
| Keyboard |  |  |  | 32V08HC
| Mouse |  |  |  | 33H066B
37 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHM3 (CL2/PC/16) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89VW
| Keyboard |  |  |  | 32V088N
38 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHVL (CL2/PC/17) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM883N
| Keyboard |  |  |  | 32V08JC
| Mouse |  |  |  | 33H06M9
39 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHEX (CL2/PC/18) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89G0
| Keyboard |  |  |  | 32V06KH
| Mouse |  |  |  | 33H06ZK
40 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHJP (CL2/PC/19) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89PD
| Keyboard |  |  |  | 32V09GA
| Mouse |  |  |  | 33H0MKB
41 | Lenovo Neo 50T Gen 3 Think centre Desktop i5, 12Gen, 1TB SSD, 16GB RAM, Win 11 pro, T 400 4 GB graphic card DDR6 with keyboard and Mouse | 1 | 2023-11-24 | Techigent Technology, Kandivli | PG03VHLY (CL2/PC/20) | 71,378/- | OK | 71378
| Lenovo 18.5" TFT Monitor Model C19-10 |  |  |  | U5HM89H9
| Keyboard |  |  |  | 33Z05V0
| Mouse |  |  |  | 33H06WK
42 | D link 24 port Patch panel (Cat5) Model: NPP-5E1BCK241 | 1 | 2025-06-01 | D link |  | 6,136/- | Working | 6136
[7 empty] | Total Cost | 2003817

## CL 3
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Computing Laboratory 3 (311) III rd Floor. Area 66 sq. mtr Updated on :02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr. Sapna U. Prabhu. |  | Lab. Incharge: Dr. Swapnali Makdey Lab. Assistant: Mr. Ganesh Bhirud
Sr.No | Description | Qty | Date of Puchase | Suppliers Name | Serial Number | Cost in (Rs.) | Institutional Code | Total Cost
1 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD7Q882 | 28095 | VLSI/PC/01 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-FC8B-A00 |  | VLSI/MON/01
| Keyboard and mouse |  |  |  | OGY81R-71581-24N-05QL-A02
2 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 4DPDH92 | 28095 | VLSI/PC/02 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-FC9B-A00 |  | VLSI/MON/02
| Keyboard and mouse |  |  |  | ODJ494-71581-5AR-O6CI-A01
3 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 4FB9H92 | 28095 | VLSI/PC/03 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AN-EEEB-A00 |  | VLSI/MON/03
| Keyboard and mouse |  |  |  | OGY81R-71581-24N-020I-A02
4 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD8PX52 | 28095 | VLSI/PC/04 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETFB-A00 |  | VLSI/MON/04
| Keyboard and mouse |  |  |  | ODJ494-71581-590-O9IW-A01
5 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD5M882 | 28095 | VLSI/PC/05 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-EUHB-A00 |  | VLSI/MON/05
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2RX-AO1
6 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 8BQGH92 | 28095 | VLSI/PC/07 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AG-LOWB-A00 |  | VLSI/MON/07
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2QM-AO1
7 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD62N62 | 28095 | VLSI/PC/08 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETNB-A00 |  | VLSI/MON/08
| Keyboard and mouse |  |  |  | ODJ494-71581-5BA-O8SS-AO1
8 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD8KX52 | 28095 | VLSI/PC/09 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-FC7B-A00 |  | VLSI/MON/09
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2OV-AO1
9 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 13.01.2016 | Wysetek Systems Technologists | DD5JX52 | 28095 | VLSI/PC/10 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AG-LOYB-A00 |  | VLSI/MON/10
| Keyboard and mouse |  |  |  | ODJ494-71581-5AR-O5AG-AO1
10 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD7JX52 | 28095 | VLSI/PC/11 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AN-E9AB-A00 |  | VLSI/MON/11
| Keyboard and mouse |  |  |  | ODJ494-71581-5BA-O8SV-AO1
11 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 8CBGH92 | 28095 | VLSI/PC/12 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETWB-A00 |  | VLSI/MON/12
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2SB-AO1
12 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD88N62 | 28095 | VLSI/PC/13 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AG-LECB-A00 |  | VLSI/MON/13
| Keyboard and mouse |  |  |  | OGY81R-71581-24N-O17F-AO2
13 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD8NX52 | 28095 | VLSI/PC/14 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-GKVB-A00 |  | VLSI/MON14
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2SV-AO1
14 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD53N62 | 28095 | VLSI/PC/15 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETDB-A00 |  | VLSI/MON15
| Keyboard and mouse |  |  |  | ODJ494-71581-59O-08L9-AO1
15 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 8B3JH92 | 28095 | VLSI/PC/16 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETKB-A00 |  | VLSI/MON/16
| Keyboard and mouse |  |  |  | ODJ494-71581-5AR-O58D-AO1
16 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD81N62 | 28095 | VLSI/PC/17 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-GLFB-A00 |  | VLSI/MON/17
| Keyboard and mouse |  |  |  | ODJ494-71581-59O-O9IK-AO1
17 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | 4DBGH92 | 28095 | VLSI/PC/18 | 28095
| 19.5" WTFT Display |  |  |  | 08X6HJ72872-5AN-DU5B-A00 |  | VLSI/MON/18
| Keyboard and mouse |  |  |  | ODJ494-71581-59U-O2RY-AO1
18 | DELL OPTIPLEX 3020 CORE i3 4th gen, 4GB DDR 1600Mz, INTEL HD GRAPHICS, 500 GB HDD | 1 | 06/02/2016 | Wtech india solution, Mumbai -50 | DD77N62 | 28095 | VLSI/PC/19 | 28095
| DELL E1916HE 18.5" MONITOR |  |  |  | 08X6HJ72872-5AS-ETVB-A00 |  | VLSI/MON/19
| Keyboard and mouse |  |  |  | ODJ494-71581-5BA-O8R4-AO1
19 | Logic Analyzer Model - CD Logic | 1 | 2004-03-01 | System Level Solutions |  | 60,000/- | VLSI/LA/01 | 60000
20 | Wall Rack | 1 | Sept. 2004
21 | 10/100 MBPS Switch | 1 | Sept. 2021 | D link
22 | Patch Panel | 1 | Sept. 2004
23 | NI Multisim & Ultiboard Software 10 users | 1 | 2016-12-07 | Starcom Information Tech. Ltd., New Delhi |  | 425103/- |  | 425103
24 | NI Labview 2015 Software - 5 Users with usb DAQ | 1 | 2016-12-07 | Starcom Information Tech. Ltd., |  | 450700/- |  | 450700
25 | Printer-HP Laserjet PRO P1108 | 1 | 2018-01-19 | Wtech India Solutions, Bandra | VNF4V17168 | 9000/- | HP/PRN/01 | 9000
26 | Printer-HP Laserjet P1005 | 1 | 2018-01-19 | Wtech India Solutions, Bandra | CNKNK5GCQ3 | 15694/- | HP/PRN/02 (with HOD) | 15694
27 | Lenovo Thinkcentre Neo 50t Gen 4 Desktop i5-13400/WIN 11pro with Keyboard and Mouse. (3 year warranty) | 15 | 2025-07-07 | Techigent Technologies Pvt.Ltd. |  | 7,69,773/- |  | 769773
28 | Lenovo Thinkstation P3 Tower workstation Intel i7-13700. No operating system 16GB,1*1TB SSD, PCIe Gen4 performance TLC opalIntel UHD Graphics770,,500w,with USB keyboard and mouse. (3 year warranty) | 2 | 2025-07-07 | Techigent Technologies Pvt.Ltd. |  | 1,73,436/- |  | 173436
[7 empty] | Total Cost | 2409416

## CL 4
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Computing Laboratory 4 (312) III rd Floor. Area 66 sq. mtr Updated on :02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr. Sapna U. Prabhu. |  | Lab. Incharge: Prof. Prajakta Bhangale. Lab. Assistant: Mr. Ganesh Bhirud
Sr.No | Description | Qty | Date of Puchase | Suppliers Name | Sr.No /Code No. | Cost in (Rs.) | Institutional Code | Total Cost
1 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425368 | 29467 | ACER/PC/01 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFEBB505 |  | ACER/MON/01
| Keyboard and Mouse |  |  |  | 649814A1K701
2 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425369 | 29467 | ACER/PC/02 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFBCB505 |  | ACER/MON/02
| Keyboard and Mouse |  |  |  | 65183C78K701
3 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425370 | 29467 | ACER/PC/03 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFD98505 |  | ACER/MON/03
| Keyboard and Mouse |  |  |  | 65183CB86K701
4 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425371 | 29467 | ACER/PC/04 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AF9FB505 |  | ACER/MON/04
| Keyboard and Mouse |  |  |  | 65183BCEK701
5 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425372 | 29467 | ACER/PC/05 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFA5B505 |  | ACER/MON/05
| Keyboard and Mouse |  |  |  | 65183C2BK701
6 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425373 | 29467 | ACER/PC/06 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFBA8505 |  | ACER/MON/06
| Keyboard and Mouse |  |  |  | 649814C3K701
7 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425374 | 29467 | ACER/PC/07 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AF178505 |  | ACER/MON/07
| Keyboard and Mouse |  |  |  | 649814C83K701
8 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425375 | 29467 | ACER/PC/08 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFB48505 |  | ACER/MON/08
| Keyboard and Mouse |  |  |  | 65183B66K701
9 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425376 | 29467 | ACER/PC/09 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AF878505 |  | ACER/MON/09
| Keyboard and Mouse |  |  |  | 65183B66K701
10 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425377 | 29467 | ACER/PC/10 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AF808505 |  | ACER/MON/10
| Keyboard and Mouse |  |  |  | 65183B36K701
11 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425378 | 29467 | ACER/PC/11 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AFBD8505 |  | ACER/MON/11
| Keyboard and Mouse |  |  |  | 65183B2FK701
12 | Acer Desktop. Acer Veriton MT Desktop core i36100(SLK) H110-M4 Processor, 8GB DDR4 RAM, 2133 MHz 1TB HDD, No ODD, FDDS integrated Graphics, 19.5" WTFT, Keyboard, Mouse, Gigabyate LAN. | 1 | 24.04.2017 | Wysetek Systems Technologists | UXB1JSIB34H1425379 | 29467 | ACER/PC/12 | 29467
| 19.5" WTFT Display |  |  |  | MMLY6550096370AF7D8505 |  | ACER/MON/12
| Keyboard and Mouse |  |  |  | 65183B8FK701
13 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB) | 1 | 2006-03-04 | Ark Instruments | 06/03/B994 | 28,080/- | VLSI/DSK/01 | 28080
14 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB) | 1 | 2006-03-04 | Ark Instruments |  | 28,080/- | VLSI/DSK/01 | 28080
15 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB) | 1 | 2006-03-04 | Ark Instruments |  | 28,080/- | VLSI/DSK/01 | 28080
16 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB) | 1 | 2006-03-04 | Ark Instruments |  | 28,080/- | VLSI/DSK/01 | 28080
17 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB) | 1 | 2006-03-04 | Ark Instruments |  | 28,080/- | VLSI/DSK/01 | 28080
18 | DSP Starter Kit (DSK for TMS 320C67813 (16 MB), Image Developer Kit with cmos camera , BWD (Bloom with DSP) CD | 1 | 2007-03-30 | Ark Instruments |  | 170000/- | VLSI/DSK/01 | 170000
19 | Wall Rack | 1
20 | 10/100 MBPS Switch | 1 |  |  |  | 50000 |  | 50000
21 | Patch Panel | 1
22 | Microphone HV-058 | 3 | 2009-11-26 | Edkits |  | 5000/- |  | 5000
23 | Speaker | 1 | 2009-11-26 | Iball |  | 2500/- |  | 2500
24 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36ESY | 38704 | ECS/722/CPU/1 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHDZFR |  | ECS/722/MON/01
| Keyboard and Mouse |  |  |  | 0FGC
25 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EAF | 38704 | ECS/722/CPU/2 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHDZFR |  | ECS/722/MON/02
Keyboard and Mouse
26 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36E9W | 38704 | ECS/722/CPU/3 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH6BV3 |  | ECS/722/MON/03
Keyboard and Mouse
27 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EN3 | 38704 | ECS/722/CPU/4 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH7MHA |  | ECS/722/MON/04
Keyboard and Mouse
28 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EGX | 38704 | ECS/722/CPU/5 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH7MGO |  | ECS/722/MON/05
Keyboard and Mouse
29 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EXD | 38704 | ECS/722/CPU/6 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHDZGA |  | ECS/722/MON/06
Keyboard and Mouse
30 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EZW | 38704 | ECS/722/CPU/7 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH37AR |  | ECS/722/MON/07
Keyboard and Mouse
31 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EL3 | 38704 | ECS/722/CPU/8 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHFO6V |  | ECS/722/MON/08
Keyboard and Mouse
32 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36ES9 | 38704 | ECS/722/CPU/9 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHFO85 |  | ECS/722/MON/9
Keyboard and Mouse
33 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36E93 | 38704 | ECS/722/CPU/10 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHD8AX |  | ECS/722/MON/10
Keyboard and Mouse
34 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36E07 | 38704 | ECS/722/CPU/11 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH4WZP |  | ECS/722/MON/11
Keyboard and Mouse
35 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36ECS | 38704 | ECS/722/CPU/12 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH84TG |  | ECS/722/MON/12
Keyboard and Mouse
36 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36EZ4 | 38704 | ECS/722/CPU/13 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHD8DW |  | ECS/722/MON/13
Keyboard and Mouse
37 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO36ETH | 38704 | ECS/722/CPU/14 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HHFO7M |  | ECS/722/MON/14
Keyboard and Mouse
38 | Lenovo Neo 50T Gen 3 Thinkcentre Desktop I3, 12Gen, 1TB HDD, 8GB DD4 RAM | 1 | 2022-07-18 | Techigent Technology, Kandivli | PGO355HV | 38704 | ECS/722/CPU/15 | 38704
| Lenovo 19" MONITOR Model C19-10 |  |  |  | U5HH6BX6 |  | ECS/722/MON/15
Keyboard and Mouse
[7 empty] | Total Cost | 1302064

## EL
FR. CONCEICAO RODRIGUES COLLEGE OF ENGINEERING, BANDRA.
ASSET REGISTER 2025 - 2026
Electrical Laboratory (509) III rd Floor. Area 66 sq. mtr Updated on :02/08/2025
Department of Electronics and Computer Science
H. O. D.: Dr. Sapna U. Prabhu. |  | Lab. Incharge: Prof. Binsy Joseph. Lab. Assistant: Mr. Ganesh Bhirud
Sr. No. | Description of Assets | Quantity | Date of Purchase | Suppliers Name | Serial Number | Cost (in Rs.) | Remarks | Total Cost
1 | Slip Ring Motor 3pH/400V, 3HP with Mechanical loading arrangement and starter | 1 | 20.02.92 | Chems Engg. Agency | 2429 | 12,500/- |  | 12500
2 | 3 phase Synchronous motor with Brake Belt Arrangment | 1 | 26.03.92 | Asian Sales | 92020103 | 14,000/- |  | 14000
3 | 1 phase capacitor start Induction motor 1HP/230V | 1 | 18.02.92 | Chems Engg. agency | 30292 | 2,500/- |  | 2500
4 | Isolation transformer 230/230V/3A | 1 | since inception |  | 9318 | 1,500/- |  | 1500
5 | AC Signal Generator | 1 | 5.3.03, | Skyking Instruments Pvt. Ltd | ET/FG/06 | 7000/- |  | 7000
6 | D.C. Variable Power Supply | 5 | 4.01.95 |  | ET/DPS/01 to
7 | A.C. Watt meter 1 ph 2.5A/600V | 2 | since inception | Asha Enterprises | ET/WT/01 to
| 1 ph 15A/250V | 2 | 4.03.97 |  | ET/WT/08
| 1 ph 5A/250V | 2 | 15.01.03
| 1 ph 5/10A/-75/150/300V | 2 | 8.10.03 |  |  | 10,947/- |  | 10947
8 | Bench Type Multimeter | 2 | 2007-11-12 | Skyking Agencies | ET/DMM/09-11 | 4050/- |  | 4050
9 | D.C.Ammeter 0-25mA(Beemet) | 8 | 2007-11-15 | Skyking Agencies | ET/MA/DC/27-34 | 480/- |  | 480
10 | D.C.Ammeter 0-50mA(Beemet) | 2 | 2007-11-15 | Skyking Agencies | ET/MA/DC/35;36 | 490/- |  | 490
11 | D.C.Ammeter 0-100mA(Beemet) | 3 | 2007-11-15 | Skyking Agencies | ET/MA/DC/37,38,39 | 480/- |  | 480
12 | A.C. Voltmeter 0-600V (Beemet) | 2 | 2007-11-15 | Skyking Agencies | ET/VT/16,11 | 368 |  | 368
13 | A.C. Current Meter 0.25/5A (Beemet) | 2 | 2007-11-15 | Skyking Agencies | ET/AMP/13,14 | 430/- |  | 430
14 | Wattmeter 500v/5A 3 phase | 2 | 2007-11-29 | AVK Instruction | ET/WT/13,14 | 1873/- |  | 1873
15 | Wattmeter 50v/10A 1 phase | 1 | 2007-11-29 | AVK Instruction | ET/WT/15 | 1873 |  | 1873
16 | Wattmeter 300v/1A 1 phase | 1 | 2007-11-29 | AVK Instruction | ET/WT/16 | 1873/- |  | 1873
17 | Digital Multimeterwith LCR classic333NB | 1 | 2009-09-24 |  | ET/DMLCR/01 | 3458/- |  | 3458
18 | Inductor coil box ( decode box 10-44 in 6 decades) | 1 | 2009-12-02 |  | ED-M LDB-6-01 | 2496/- |  | 2496
19 | Wattmeter 2,5A 600v | 2 | 2009-06-18 | Meco Instruments Pvt. Ltd | 195331-09,19532-09 | 3604/- |  | 3604
20 | Wattmeter 5&10A 75-150-300v | 4 | 2009-06-18 | Meco Instruments Pvt. Ltd | 19519 to 22 | 8156/- |  | 8156
21 | Ac voltmeter 0-150-300v | 2 | 2009-06-09 | Asha Enterprises | 84155, 84158 | 2402/- |  | 2402
22 | Ac voltmeter 0-150-300v-600v | 2 | 2009-06-09 | Asha Enterprises | 8435984361 | 2622/- |  | 2622
23 | AC Ammeter 0.5-10A | 2 | 2009-06-09 | Asha Enterprises | ET/AMT/15 & 16 | 2402/- |  | 2402
24 | AC Ammeter 0 – 10 -20A | 2 | 2009-06-09 | Asha Enterprises | ET/AMT/17 & 18 | 2402/- |  | 2402
25 | Digital Multimeter handheld 410 Rishbh | 2 | 2021-12-18 | Bharati Enterprises |  | 2279/- each=4558/- |  | 4558
26 | Digital Multimeter 108B Meco | 4 | 2021-12-18 | Bharati Enterprises |  | 1649/- each=6596/- |  | 6596
27 | DSO 50 Hz 2 channel Model 401 Scientech | 1 | 2021-12-18 | Bharati Enterprises |  | 23799/- |  | 23799
28 | HTC DC Regulated Power Supply DC 3005 | 1 | 2021-12-18 | Bharati Enterprises |  | 4488/- |  | 4488
29 | Rishabh Digital Multimeter Model 410 | 6 | 2023-09-13 | Rishabh | 3.9779e+22 | 3166/-each=18996/- | OK | 18996
30 | Multi output DC power supply Model PSD3304 | 3 | 2024-10-03 | Scientific | 2.4097e+23 | 15000/-each=45000/- |  | 45000
31 | Function Generator 2 Mhz | 3 | 2024-10-03 | Scientific | 24091004, 24091005, 24091006 | 8800/- each=26400/- |  | 26400
32 | DMM Bench type 4&1/2 digit Model DM8045 | 3 | 2024-10-03 | Scientific | 1.3526e+20 | 6660/-each =19980/- |  | 19980
33 | DMM Bench type 4&1/2 digit Model | 4 | 2024-10-17 | Scientech | 0324297, 0324298,0924299,0924300 | 43000/- |  | 43000
34 | Multioutput DC power supply Model | 3 | 2024-10-17 | Scientech |  | 88092/- |  | 88092
35 | DSO – GDS1102B | 5 | 2024-10-04 | GM-INSTEK | 140772140752 | 68800/-+ 102660/- |  | 102660
36 | Function Generator 2 Mhz | 4 | 2024-10-04 | GM-INSTEK | 811843,811821,811782, 811834 | 72800/- |  | 72800
37 | DSO – Model TBS1052C | 1 | 2024-10-04 | Tektronix | CO40254 | 52510/- |  | 52510
38 | Super position Theorem Trainer Kit – KMS 202s | 3 | 2024-10-15 | Techno Scientific |  | 6097/-each =18291/- | Working | 18291
39 | Maximum power transfer trainer kit – KMS 202MP | 3 | 2024-10-15 | Techno Scientific |  | 6097/-each =18291/- | Working | 18291
40 | RLC Series circuit trainer KMS- 204s | 3 | 2024-10-15 | Techno Scientific |  | 6097/-each =18291 | Working | 18291
41 | Single Phase Transformer 230 V 115V 500VA | 1 | 2024-10-15 | Techno Scientific |  | 6500/- | Working | 6500
42 | Aplab multioutput power supply Model LQ 6324T | 2 | 2025-02-01 | Aplab |  | 93043/- | Working | 93043
[7 empty] | Total Cost | 751201